## Slide 1
Technical University of Denmark
42002 Modelling and Analysis of Sustainable Energy Systems
Using Operations Research
Final Project
Sigurd Indrehus s193028
Lorenzo Mininni s192445
Jorge Montalvo Arvizu s192184
Ajinkya Pradip Mahale s192206
Fall 2019

## Slide 2: Base Scenario in 2021
Region: North and South Carolina, USA
Electricity mix dominated by Natural Gas, Coal and Nuclear
Low renewable share, huge potential for solar and wind
Goal for 2021: 12.5% generation from renewables

## Slide 3
Wind & Solar
Renewables.ninja
Nrel.gov

## Slide 4: Implementations
Non-renewables
- Coal
- Natural Gas
- Diesel
- Nuclear
Renewables
- Wind
- Solar
- Hydro

## Slide 5: Data
eia.gov
Investment cost: eia.gov & lazard.com
Emission cost: worldbank.org
Hourly load data from 2018

## Slide 6: Assumptions
Hydro power: monthly generation production per plant
Emission costs equal for every non-renewable source
Rate of return = 10%
No imports/exports
Base load generation

## Slide 7: Mathematical Model
Objective function
Demand Satisfaction
Goal limit

## Slide 8: Capacity units
Capacity production in unity of a fixed quantity: new variable Xi
Power generation limits

## Slide 9: Extensions
Electric vehicles
- From conventional cars to EV
- Adds flexibility in electricity demand
- Effects of demand flexibility
Hydrogen
- Electrolysis plant - storage
- Fuel – fuel cell or gas turbines
- Flexible, lots of losses

## Slide 10: Results
Installed Capacity (MW)
Real Generation
Baseline Generation
Chart: 

## Slide 11: Sensitivity Analysis
- Coal Capacity
- Fuel and Emission cost
- Subsidies

## Slide 12: Thank you for your listening.
Questions?